Original 02/14/20

WORKSHEET C-10W

| REQUIREMENTS: Check Planeness |  |  |  |
| --- | --- | --- | --- |
| Check Frequency | Last Checked | Date of Check | Next Check |
| 12 Months |  |  |  |

BEARING BLOCKS

GAGELIST ID:

ASSET ID:

SERIAL NUMBER:

MODEL NUMBER/MANUFACTURER:

CHECK REFERENCE:           PROCEDURE C-8: ASTM/AASHTO; C39/T22    __

TRACEABLE MEASURING AND TEST EQUIPMENT USED FOR CHECK:

| Equipment Name | Serial or ID Number |
| --- | --- |
| Caliper (0.001") |  |
| 6" Straightedge Plane (0.001") |  |
| Feeler Gauge (0.0005") |  |

CHECK TABLE:

| Bearing Block Size |  |  |  |
| --- | --- | --- | --- |
| Thickness |  |  | 0.9" Minimum |
| Planeness (Upper Block) |  |  | 0.001" Maximum |
| Planeness (Lower Block) |  |  | 0.001" Maximum |

| Diam. Test Specimen | Max. Diam. Bearing Face |
| --- | --- |
| 2 " (50mm) | 4 " (105mm) |
| 3 " (75mm) | 5 " (130mm). |
| 4 " (100mm) | 6.5 " (165mm) |
| 6 " (150mm) | 10 " (225mm) |
| 8 " (200mm) | 11 " (280mm) |

RESULTS:

Equipment Status Upon Receipt: Conforms		                     	                    Nonconforming*

* Who Was Notified?		                                           	        Corrective Action

Equipment Status After Adjustment: Conforms		      	                                         Nonconforming

Check Performed By:	                	                                                  Check Checked By: